## INTRO
COPYRIGHT©: 1996-2011 Thermaflex & Hans Dresler
PIPESIZING A-B (B-A) for MICROSOFT EXCEL 2007 or higher. This Calculation is based on the Material Properties of "FLEXALEN 600 and FLEXALEN SL".
COPYRIGHT©: 1999-2011 Thermaflex & Hans Dresler; PIPESIZING A-B(-B-A) for MICROSOFT EXCEL 2007 or higher.
This Software belongs to THERMAFLEX and must not be copied or transfered to another user without prior approval of Thermaflex.
Please note that despite careful development and stringent tests no software can give a guarantee for total faultless results.
If you face any problem please contact : m.thuernbeck@thermaflex.com
THERMAFLEX and Mr. Dresler cannot accept any liability for the results or problems with the data or computer.
The compatibility of this Software has to be checked by the user prior to the installation.
Please check every result to be safe!
QUICK CALC AB - (BA)
V. 9.02

## CALC
© 1999-2011 DRESLER & THERMAFLEX / Unautorized passing on of the software is forbidden! | [10 empty] | LANGUAGE | PRODUCT
[11 empty] | ENGLISH | VS-RH125A75
| PIPE SIZING FOR SINGLE OR DOUBLE LINES BETWEEN 2 NET POSITIONS | [9 empty] | GERMAN | VS-RH160A75
| FLEXALEN - PREINSULATED PIPE SYSTEMS | [9 empty] | BULAGRIAN | VS-RS125A75
| MADE FOR DOMESTIC WATER DISTRIBUTION AND DISTRICT HEATING SUPPLY LINES | [9 empty] | DUTCH
FRENCH
ROMANIAN
| PLEASE CHOOSE APPLICATION: | SUPPLY LINE → |  |  | USABLE TEMP. DIFF. |  | not appliable |  |  |  | TURKISH
|  | HEATING / COOLING → |  |  | USABLE LOAD |  | not appliable |  |  |  | RUSSIAN
[5 empty] | NET VOLUME |  | 0 |  |  |  | CZECH
| TEMPERATURE | (Tf) |  | °C | [6 empty] | ITALIAN
[5 empty] | SOURCE | 0 | RESERVE PRESSURE FOR PUMP |  |  |  | CROATIAN
| TEMP. DIFFERENCE (Tf - Tr) |  | not appliable | K | TEMP. DIFF. |  | Temperature °C | Pressure loss bar | Dimension OD | END POINT | HUNGARIAN
| TRENCH LENGTH |  |  | m | NO | [5 empty] | POLISH
| QUANTITY OF LIQUID |  |  | l/s |  | FLOW | 0 | 0 | 16
| ADDITIONAL PRESSURE FOR PUMP |  |  | bar | PUMP | 0 |  |  | Choose product
[5 empty] | 0 | RETURN | ------ | 0 | ------
| SIZE TUNING |  | 1 | x | 3.6e-11 | not appliable |  |  | not appliable
0
| HEAT LOAD kW SOURCE |  | 0 | kW
| VOLUMETRIC FLOW RATE |  | 1e-11 | l/s | Soil temperature | 10 |  | Temperature drop Flow |  | Choose product
| PIPE LENGTH |  | 0 | m | Coverage | 800 |  | Trench Length |  | 0
[5 empty] | Lambda soil | 1 |  | Dwell time Flow |  | 0
| OD (DIMENSION) |  | 16
| VELOCITY |  | 9.4622e-11 |  | Pressure rating | 8 | at 95°C
| PRESSURE DROP FLOW |  | 0 |  | max. Pressure | 16.3884 | at Service Temperature
| PRESSURE DROP RETURN |  | ------ |  | Pressure drop | 0 | FLEXALEN pipes only
| PRESSURE DROP TOTAL |  | 0 |  | Reserve press. | 16.3884 | at Service Temperature
E
| SELECT A FLEXALEN PRODUCT |  |  |  |  | SUPPLY LINE (SINGLE LINE)
| HEAT LOSS PER m' TRENCH LENGTH |  | Choose product | W/m |  |  |  | LANGUAGE: | ENGLISH
| HEAT LOSS TOTAL |  | Choose product | kW
O
OO
1
2
4
3
Note on G17: Pump pressure - pressure drop of Flexalen pipework and reserve pressure e.g. for heat exchanger.
Note on D18: This Factor is used to adopt the pipe size. In general it is set to 1. Changing the factor in the range of 0,3 < 1 < 3 will give different dimensions in the calculation.

## PRINTOUT
PIPE SIZING FOR SINGLE OR DOUBLE LINES BETWEEN 2 NET POSITIONS
FLEXALEN - PREINSULATED PIPE SYSTEMS
MADE FOR DOMESTIC WATER DISTRIBUTION AND DISTRICT HEATING SUPPLY LINES
[6 empty] | OD (DIMENSION) |  | 16
[6 empty] | VELOCITY |  | 9.4622e-11
FLEXALEN |  | SUPPLY LINE (SINGLE LINE) |  |  |  | VOLUMETRIC FLOW RATE |  | 1e-11
[6 empty] | HEAT LOAD kW SOURCE |  | 0
[6 empty] | TEMP. DIFFERENCE (Tf - Tr) |  | not appliable
[6 empty] | USABLE TEMP. DIFF. |  | not appliable
SOURCE | 0 | RESERVE PRESSURE FOR PUMP |  |  |  | USABLE LOAD |  | not appliable
DELTA T |  | Temperature °C | Pressure loss bar | Dimension OD | END POINT | PRESSURE DROP FLOW |  | 0
NO | [5 empty] | PRESSURE DROP RETURN |  | ------
| FLOW | 0 | 0 | 16 |  | PRESSURE DROP TOTAL |  | 0
PUMP | 0 |  |  | Choose product
0 | RETURN | ------ | 0 | ------ |  | Pressure rating | at 95°C | 8
3.6e-11 | not appliable |  |  | not appliable |  | max. Pressure | at Service Temperature | 16.3884
|  | 0 |  |  |  | Pressure drop | FLEXALEN pipes only | 0
[6 empty] | Reserve press. | at Service Temperature | 16.3884
[6 empty] | Soil temperature |  | 10
[6 empty] | Coverage |  | 800
[6 empty] | Lambda soil |  | 1
[6 empty] | Temperature drop Flow |  | Choose product
[6 empty] | Trench Length |  | 0
[6 empty] | Dwell time Flow |  | 0
[6 empty] | NET VOLUME |  | 0
[6 empty] | FLEXALEN Product |  | 0
[6 empty] | Quantity |  | #N/A
NOTES:

## HEATLOSS (hidden)
0 | 0 | #REF! | #REF!
Product | Trench length [m] | Heat loss [W/m] | Heat loss total [W]
COPY
CLEAR

## PARAMETER_R (hidden)
QF | 1.83 | Materialkonstante für Rohrreibung |  |  |  | KS-Druckkonstante A |  | 1.008 | Multiplikator P-D |  | 0.75
TF | 1.02 | Temperaturkonstante für dyn. Viskosität |  |  |  | KS Druckkonstante B |  | 0.0001 | Begrenzung ab D |  | 125
Mediumdichte | 0.98 | Mediumdichte des Rohrinhaltes |  |  |  | Bodentemperatur °C |  | 10 | max Druck bar Begrenzung |  | 10
DRUCKVERLUSTE UND GRENZWERTE LAUT DATENBLATT | [5 empty] | Kunststoff |  |  | DIMENSIONSFAKTOR
DRUCKVERLUSTTABELLE | DI 1mm | 21325 | PaT90/m | RN= | 1.219 | Pmax= | 8 |  | 1 | ENTSPRICHT
TYP | DI | PaT90/m | l/sec max | l/sec opt | L/sec min | v/min | V/max | V/optimal | AUSWAHL | Vmax
16 | 11.6 | 1074.7321 | 0.092954 | 0.063906 | 0.0031689 | 0.03 | 0.88 | 0.605 | 0.01 | 1.0715
20 | 14.4 | 825.7134 | 0.17906 | 0.11639 | 0.045578 | 0.28 | 1.1 | 0.715 | 0.11318 | 1.3922
25 | 20.4 | 540.0475 | 0.39529 | 0.25873 | 0.10454 | 0.32 | 1.21 | 0.792 | 0.22662 | 1.21
32 | 26 | 401.8067 | 0.70047 | 0.45822 | 0.19634 | 0.37 | 1.32 | 0.8635 | 0.39529 | 1.32
40 | 32.6 | 304.9693 | 1.193 | 0.80298 | 0.37542 | 0.45 | 1.43 | 0.9625 | 0.70047 | 1.43 |  | ARBEITSBEREICH enspricht rotem Bereich!!
50 | 40.8 | 231.9916 | 2.0124 | 1.3655 | 0.65337 | 0.5 | 1.54 | 1.045 | 1.193 | 1.54
63 | 51.5 | 174.6516 | 3.6643 | 2.5192 | 1.2492 | 0.6 | 1.76 | 1.21 | 2.0124 | 1.76
75 | 61.2 | 141.519 | 5.8215 | 3.9619 | 1.9111 | 0.65 | 1.98 | 1.3475 | 3.6643 | 1.98
90 | 73.6 | 113.0159 | 9.3551 | 6.4316 | 3.1892 | 0.75 | 2.2 | 1.5125 | 5.8215 | 2.2
110 | 90 | 88.4384 | 16.087 | 11.0161 | 5.4047 | 0.85 | 2.53 | 1.7325 | 9.3551 | 2.53
125 | 102.2 | 75.7427 | 22.5478 | 15.3325 | 7.3793 | 0.9 | 2.75 | 1.87 | 16.087 | 2.75
140 | 114.6 | 65.8741 | 29.4853 | 20.4129 | 10.3095 | 1 | 2.86 | 1.98 | 22.5478 | 2.86
160 | 130.8 | 56.068 | 42.8426 | 29.5466 | 14.7733 | 1.1 | 3.19 | 2.2 | 29.4853 | 3.19
225 | 184 | 36.9867 | 105.2448 | 73.0866 | 37.2077 | 1.4 | 3.96 | 2.75 | 42.8426 | 3.96
250 | 205 | 32.4212 | 145.1543 | 97.9792 | 46.1855 | 1.4 | 4.4 | 2.97 | 105.2448
|  | E |  | Pmax calc = |  | 16.3884 | bar
TEMPERATUR VORLAUF |  | 0 |  | Pmax calc limit= |  | 10 | bar
TEMPERATUR RÜCKLAUF |  | 0
SPREIZUNG |  | 0
TRASSENLÄNGE |  | 0
LEISTUNG kW |  | 0
MEDIUMMENGE |  | 0
VORDRUCK für Pumpe |  | 0

## PARAMETER_HL (hidden)
16 | E | [7 empty] | O.D. [mm] | 75
[8 empty] | f=ϑ.x+d | Type | D
O.D. [mm] | TF Range | Type | 2 | TF code | help | x | d | [W/m]
16 | Standard | E |  | VS-RH40A16 | EVS-RH40A16 | 0.19851 | -2.3109 | -2.3109 | Row Labels |  | 0
20 | Standard | E |  | VS-RH40A20 | EVS-RH40A20 | 0.25863 | -2.9823 | -2.9823 | VS-RH125A75 |  | 0
25 | Standard | E |  | VS-RH50A25 | EVS-RH50A25 | 0.2585 | -2.9964 | -2.9964 | VS-RH160A75 |  | 0
32 | Standard | E |  | VS-RH63A32 | EVS-RH63A32 | 0.26736 | -3.0969 | -3.0969 | VS-RS125A75 |  | 0
40 | Standard | E |  | VS-RH75A40 | EVS-RH75A40 | 0.28762 | -3.3234 | -3.3234 |  |  | 0
50 | Standard | E |  | VS-RH125A50 | EVS-RH125A50 | 0.22767 | -2.6265 | -2.6265 |  |  | 0
63 | Standard | E |  | VS-RH125A63 | EVS-RH125A63 | 0.30155 | -3.4625 | -3.4625 |  |  | 0
75 | Standard | E |  | VS-RH125A75 | EVS-RH125A75 | 0.40032 | -4.5657 | -4.5657 |  |  | 0
90 | Standard | E |  | VS-RH160A90 | EVS-RH160A90 | 0.34835 | -3.9605 | -3.9605 |  |  | 0
110 | Standard | E |  | VS-R200A110 | EVS-R200A110 | 0.36568 | -4.1194 | -4.1194 |  |  | 0
125 | Standard | E |  | VS-R200A125 | EVS-R200A125 | 0.44384 | -4.9914 | -4.9914 |  |  | 0
140 | Standard | E |  | FV-R225A140 | EFV-R225A140 | 0.37737 | -3.6573 | -3.6573 |  |  | 0
160 | Standard | E |  | FV-R250A160 | EFV-R250A160 | 0.38655 | -3.412 | -3.412 |  |  | 0
225 | Standard | E |  | FV-R315A225 | EFV-R315A225 | 0.49095 | -4.279 | -4.279 |  |  | 0
16 | DHC | E |  | VS-RH75A16 | EVS-RH75A16 | 0.1225 | -1.4358 | -1.4358 |  |  | 0
20 | DHC | E |  | VS-RH90A20 | EVS-RH90A20 | 0.13029 | -1.5213 | -1.5213 |  |  | 0
25 | DHC | E |  | VS-RH90A25 | EVS-RH90A25 | 0.15413 | -1.7993 | -1.7993 |  |  | 0
32 | DHC | E |  | VS-RH125A32 | EVS-RH125A32 | 0.15554 | -1.8027 | -1.8027 |  |  | 0
40 | DHC | E |  | VS-RH125A40 | EVS-RH125A40 | 0.18476 | -2.1372 | -2.1372 |  |  | 0
50 | DHC | E |  | VS-RH160A50 | EVS-RH160A50 | 0.18884 | -2.1589 | -2.1589 |  |  | 0
63 | DHC | E |  | VS-RH160A63 | EVS-RH160A63 | 0.22993 | -2.625 | -2.625 |  |  | 0
75 | DHC | E |  | VS-RH160A75 | EVS-RH160A75 | 0.27454 | -3.1296 | -3.1296 |  |  | 0
16 |  | E |  | VS-RS40A16 | EVS-RS40A16 | 0.19851 | -2.3109 | -2.3109 |  |  | 0
20 |  | E |  | VS-RS40A20 | EVS-RS40A20 | 0.25863 | -2.9823 | -2.9823 |  |  | 0
25 |  | E |  | VS-RS50A25 | EVS-RS50A25 | 0.2585 | -2.9964 | -2.9964 |  |  | 0
32 |  | E |  | VS-RS63A32 | EVS-RS63A32 | 0.26736 | -3.0969 | -3.0969 |  |  | 0
40 |  | E |  | VS-RS75A40 | EVS-RS75A40 | 0.28762 | -3.3234 | -3.3234 |  |  | 0
50 |  | E |  | VS-RS90A50 | EVS-RS90A50 | 0.32522 | -3.7418 | -3.7418 |  |  | 0
63 |  | E |  | VS-RS125A63 | EVS-RS125A63 | 0.30155 | -3.4625 | -3.4625 |  |  | 0
75 |  | E |  | VS-RS125A75 | EVS-RS125A75 | 0.40032 | -4.5657 | -4.5657 |  |  | 0
90 |  | E |  | VS-RS160A90 | EVS-RS160A90 | 0.34835 | -3.9605 | -3.9605 |  |  | 0
25 |  | E |  | VS-RS90A25 | EVS-RS90A25 | 0.15413 | -1.7993 | -1.7993 |  |  | 0
32 |  | E |  | VS-RS125A32 | EVS-RS125A32 | 0.15554 | -1.8027 | -1.8027 |  |  | 0
40 |  | E |  | VS-RS125A40 | EVS-RS125A40 | 0.18476 | -2.1372 | -2.1372 |  |  | 0
50 |  | E |  | VS-RS160A50 | EVS-RS160A50 | 0.18884 | -2.1589 | -2.1589 |  |  | 0
63 |  | E |  | VS-RS160A63 | EVS-RS160A63 | 0.22993 | -2.625 | -2.625 |  |  | 0
75 |  | E |  | VS-RS160A75 | EVS-RS160A75 | 0.27454 | -3.1296 | -3.1296 |  |  | 0
16 | Standard | D | SP | VS-RH40A16 | DVS-RH40A16 | 0.36391 | -4.1215 | -4.1215 |  |  | SP
20 | Standard | D | SP | VS-RH40A20 | DVS-RH40A20 | 0.46105 | -5.1554 | -5.1554 |  |  | SP
25 | Standard | D | SP | VS-RH50A25 | DVS-RH50A25 | 0.46163 | -5.1855 | -5.1855 |  |  | SP
32 | Standard | D | SP | VS-RH63A32 | DVS-RH63A32 | 0.4764 | -5.3466 | -5.3466 |  |  | SP
40 | Standard | D | SP | VS-RH75A40 | DVS-RH75A40 | 0.50874 | -5.691 | -5.691 |  |  | SP
50 | Standard | D | SP | VS-RH125A50 | DVS-RH125A50 | 0.41549 | -4.6671 | -4.6671 |  |  | SP
63 | Standard | D | SP | VS-RH125A63 | DVS-RH125A63 | 0.53331 | -5.936 | -5.936 |  |  | SP
75 | Standard | D | SP | VS-RH125A75 | DVS-RH125A75 | 0.67846 | -7.4596 | -7.4596 |  |  | SP
90 | Standard | D | SP | VS-RH160A90 | DVS-RH160A90 | 0.60731 | -6.6919 | -6.6919 |  |  | SP
110 | Standard | D | SP | VS-R200A110 | DVS-R200A110 | 0.63597 | -6.9555 | -6.9555 |  |  | SP
125 | Standard | D | SP | VS-R200A125 | DVS-R200A125 | 0.74804 | -8.1332 | -8.1332 |  |  | SP
140 | Standard | D | SP | FV-R225A140 | DFV-R225A140 | 0.63383 | -5.3267 | -5.3267 |  |  | SP
160 | Standard | D | SP | FV-R250A160 | DFV-R250A160 | 0.68767 | -5.8033 | -5.8033 |  |  | SP
225 | Standard | D | SP | FV-R315A225 | DFV-R315A225 | 0.85947 | -8.0773 | -8.0773 |  |  | SP
16 | DHC | D | SP | VS-RH75A16 | DVS-RH75A16 | 0.23263 | -2.6686 | -2.6686 |  |  | SP
20 | DHC | D | SP | VS-RH90A20 | DVS-RH90A20 | 0.24677 | -2.8203 | -2.8203 |  |  | SP
25 | DHC | D | SP | VS-RH90A25 | DVS-RH90A25 | 0.28897 | -3.296 | -3.296 |  |  | SP
32 | DHC | D | SP | VS-RH125A32 | DVS-RH125A32 | 0.29207 | -3.3114 | -3.3114 |  |  | SP
40 | DHC | D | SP | VS-RH125A40 | DVS-RH125A40 | 0.34273 | -3.8712 | -3.8712 |  |  | SP
50 | DHC | D | SP | VS-RH160A50 | DVS-RH160A50 | 0.35078 | -3.9237 | -3.9237 |  |  | SP
75 | DHC | D | SP | VS-RH160A75 | DVS-RH160A75 | 0.49254 | -5.466 | -5.466 |  |  | SP
225 | Standard | D | SP | FV-R315A225 | DFV-R315A225 | 0.85947 | -8.0773 | -8.0773 |  |  | SP
16 |  | D | SP | VS-RS40A16 | DVS-RS40A16 | 0.36391 | -4.1215 | -4.1215 |  |  | SP
20 |  | D | SP | VS-RS40A20 | DVS-RS40A20 | 0.46105 | -5.1554 | -5.1554 |  |  | SP
25 |  | D | SP | VS-RS50A25 | DVS-RS50A25 | 0.46163 | -5.1855 | -5.1855 |  |  | SP
32 |  | D | SP | VS-RS63A32 | DVS-RS63A32 | 0.4764 | -5.3466 | -5.3466 |  |  | SP
40 |  | D | SP | VS-RS75A40 | DVS-RS75A40 | 0.50874 | -5.691 | -5.691 |  |  | SP
50 |  | D | SP | VS-RS90A50 | DVS-RS90A50 | 0.56677 | -6.3026 | -6.3026 |  |  | SP
63 |  | D | SP | VS-RS125A63 | DVS-RS125A63 | 0.53331 | -5.936 | -5.936 |  |  | SP
75 |  | D | SP | VS-RS125A75 | DVS-RS125A75 | 0.67846 | -7.4596 | -7.4596 |  |  | SP
90 |  | D | SP | VS-RS160A90 | DVS-RS160A90 | 0.60731 | -6.6919 | -6.6919 |  |  | SP
16 | Standard | D | D | VS-RH63A2/16 | DVS-RH63A2/16 | 0.23513 | -1.1757 | -1.1757 |  |  | D
20 | Standard | D | D | VS-RH75A2/20 | DVS-RH75A2/20 | 0.24053 | -1.2026 | -1.2026 |  |  | D
25 | Standard | D | D | VS-RH125A2/25 | DVS-RH125A2/25 | 0.19946 | -0.99732 | -0.99732 |  |  | D
32 | Standard | D | D | VS-RH125A2/32 | DVS-RH125A2/32 | 0.25508 | -1.2754 | -1.2754 |  |  | D
40 | Standard | D | D | VS-RH160A2/40 | DVS-RH160A2/40 | 0.2324 | -1.2921 | -1.2921 |  |  | D
50 | Standard | D | D | VS-RH160A2/50 | DVS-RH160A2/50 | 0.31027 | -1.8319 | -1.8319 |  |  | D
63 | Standard | D | D | VS-RH200A2/63 | DVS-RH200A2/63 | 0.34261 | -2.4785 | -2.4785 |  |  | D
16 | DHC | D | D | VS-RH90A2/16 | DVS-RH90A2/16 | 0.21685 | -1.0842 | -1.0842 |  |  | D
20 | DHC | D | D | VS-RH125A2/20 | DVS-RH125A2/20 | 0.1665 | -0.83249 | -0.83249 |  |  | D
32 | DHC | D | D | VS-RH160A2/32 | DVS-RH160A2/32 | 0.18928 | -1.0428 | -1.0428 |  |  | D
16 |  | D | D | VS-RS63A2/16 | DVS-RS63A2/16 | 0.23513 | -1.1757 | -1.1757 |  |  | D
20 |  | D | D | VS-RS75A2/20 | DVS-RS75A2/20 | 0.24053 | -1.2026 | -1.2026 |  |  | D
25 |  | D | D | VS-RS125A2/25 | DVS-RS125A2/25 | 0.19946 | -0.99732 | -0.99732 |  |  | D
32 |  | D | D | VS-RS125A2/32 | DVS-RS125A2/32 | 0.25508 | -1.2754 | -1.2754 |  |  | D
40 |  | D | D | VS-RS160A2/40 | DVS-RS160A2/40 | 0.2324 | -1.2921 | -1.2921 |  |  | D
50 |  | D | D | VS-RS160A2/50 | DVS-RS160A2/50 | 0.31027 | -1.8319 | -1.8319 |  |  | D
63 |  | D | D | VS-RS200A2/63 | DVS-RS200A2/63 | 0.34261 | -2.4785 | -2.4785 |  |  | D
PRESS

## TEMPERATUR (hidden)
CALCULATION TEMPERATURE DROP:
| Supply line / Heating, Cooling | E | (E or D)
| Product choosen | 0
|  | PIPE | PIPE
|  | FLOW | RETURN
O.D. | Diameter pipe | 16 | ------ | mm
ϑ | Temperature medium | 0 | 0 | °C
mm | mass (medium) / m | 0.10568 | #N/A | kg | water: 1l = 1kg
mtot | mass total | 0 | #N/A | kg | Total volume: | 0 | l
t | dwell time | 0 | 0 | s
Pm | Power loss (Heat loss) / m | #N/A | 0 | W
Ptot | Heat loss total | #N/A | 0 | W
c | specific heat capacity (water) | 4190 | 4190 | J / kg.K
E1 | Engergy content | 0 | #N/A | J
E2 | Engergy loss due heat loss | #N/A | 0 | J
ϑ | Temperature medium | #N/A | #N/A | °C
ΔT | Temperature drop | #N/A | #N/A | K
Temperature difference: |  | not appliable | K
Volumetric flow: |  | 1e-11 | l/s
Usable load |  | #VALUE! | kW

## Language (hidden)
INDEX | ENGLISH | GERMAN | BULAGRIAN | DUTCH | FRENCH | ROMANIAN | TURKISH | RUSSIAN | Czech | ITALIAN | HUNGARIAN | CROATIAN | POLISH
1 | PIPE SIZING FOR SINGLE OR DOUBLE LINES BETWEEN 2 NET POSITIONS | ROHRLEITUNGSBERECHNUNG - VERBINDUNG VON ZWEI NETZPUNKTEN MIT EINZEL- ODER DOPPELLEITUNG | ОРАЗМЕРЯВАНЕ НА ТРЪБОПРОВОД - СЪЕДИНЯВАНЕ НА 2 ТОЧКИ ЧРЕЗ ЕДНО- ИЛИ ДВУТРЪБНА СИСТЕМА | BUISAFMETING VOOR ENKEL OF DUBBEL LEIDINGSYSTEEM VAN A NAAR B | DIMENSIONNEMENT TUBE FLEXALEN LIGNE SIMPLE OU DOUBLE POUR LIAISON ENTRE BATIMENTS | DIMENSIONARE CONDUCTE CIRCUITE SIMPLE SAU DUBLE INTRE DOUA PUNCTE DIN RETEA | İKİ NOKTA ARASINDAKİ TEKLİ VEYA İKİLİ HATLAR İÇİN BORU EBADI | РАСЧЕТ ДИАМЕТРА ТРУБ ДЛЯ ОДНОТРУБНОЙ ИЛИ ДВУХТРУБНОЙ СИСТЕМ МЕЖДУ ДВУМЯ ТОЧКАМИ | VÝPOČET POTRUBÍ PRO TRUBNÍ VEDENÍ - SPOJENÍ DVOU BODŮJEDNOTRUBNÍM NEBO DVOUTRUBNÍM VEDENÍM | Dimensionamento Tubo per linee singole o doppie tra due punti distinti | Cső méretezése - két pontot összekötő egy/duplavezetékes csőrendszer | DIMENZIONIRANJE CJEVOVODA - SPOJ 2 TOČKE SUSTAVA ( A-B ) - ZA JEDNOCJEVNE ILI DVOCJEVNE SUSTAVE | Program doboru średnic dla rur pojedyńczych i podwójnych FLEXALEN pomiędzy źródłem ciepła i odbiorcą
2 | FLEXALEN - PREINSULATED PIPE SYSTEMS | FLEXALEN - ISOLIERTE ROHRSYSTEME | FLEXALEN - СИСТЕМА ОТ ПРЕДВАРИТЕЛНО ИЗОЛИРАНИ ТРЪБИ | FLEXALEN VOORGEISOLEERD LEIDINGSYSTEEM | FLEXALEN - SYSTEME TUBES PRE-ISOLES | FLEXALEN-SISTEM CONDUCTE PREIZOLATE | FLEXALEN - ÖNYALITIMLI BORU SİSTEMLERİ | FLEXALEN - ПРЕДВАРИТЕЛЬНО ИЗОЛИРОВАННЫЕ ТРУБЫ | FLEXALEN - PŘEDIZOLOVANÉ POTRUBNÍ SYSTÉMY | Flexalen 600 - Sistema di tubi preisolati | Flexalen - előszigetelt csőrendszer | FLEXALEN 600 - PREDIZOLIRANI CIJEVNI SUSTAV | Flexalen - system preizolowanych rur
3 | MADE FOR DOMESTIC WATER DISTRIBUTION AND DISTRICT HEATING SUPPLY LINES | BERECHNUNG GILT FÜR WASSER IN LEITUNGSQUALITÄT UND FÜR NORMAL KONDITIONIERTES WASSER IN FERNWÄRMESYSTEMEN | ИЗЧИСЛЕНИЕТО Е ВАЛИДНО ЗА ПИТЕЙНА ВОДА И ЗА ВОДА ПРИГОДНА ЗА ОТОПЛИТЕЛНИ СИСТЕМИ | GESCHIKT VOOR TAPWATER EN WARMTE/KOUDE DISTRIBUTIE | CE PROGRAMME EST DEFINI POUR LE CALCUL DES RESEAUX DE CHAUFFAGE ET DE DISTRIBUTION D'EAU SANITAIRE | FABRICATE PENTRU RETELE DE DISTRIBUTIE A ENERGIEI TERMICE SI APEI MENAJERE | SICAK-SOĞUK SU TESİSATLARI VE BÖLGESEL ISITMA HATLARI İÇİN YAPILMIŞTIR | ЭТОТ РАСЧЕТ СДЕЛАН ДЛЯ СИСТЕМ БЫТОВОГО ВОДОСНАБЖЕНИЯ И ЦЕНТРАЛЬНОГО ОТОПЛЕНИЯ | VYVINUTO PRO ROZVODY VODY A SYSTÉMY DÁLKOVÉHO TOPENÍ | Prodotto per distribuire acqua sanitaria e reti di teleriscaldamento | Számítások használati és Fűtővís rendszerek esetében érvényesek | IZRAČUN VRIJEDI ZA SANITARNU I NORMALNO KONDICIONIRANU VODU U TOPLOVODNIM SUSTAVIMA GRIJANJA | Przeznaczony do dystrybucji ciepłej wody użytkowej i uzdatnionej wody grzewczej
4 | QUALITY FACTOR | QUALITÄTSFAKTOR | КАЧЕСТВЕН ФАКТОР | KWALITEITS FACTOR | FACT QUALITE | FACTOR CALITATE | KALİTE FAKTÖRÜ | КАЧЕСТВЕННЫЙ ФАКТОР | FAKTOR JAKOSTI | Fattore Qualità | Minőségi tényező | KVALITATIVNI FAKTOR | Współczynnik jakości
5 | TEMPERATUR FACTOR | TEMPERATURFAKTOR | ТЕМПЕРАТУРЕН ФАКТОР | TEMPERATUUR FACTOR | FACT TEMPERATURE | FACTOR TEMPERATURA | SICAKLIK FAKTÖRÜ | ТЕМПЕРАТУРНЫЙ ФАКТОР | FAKTOR TEPLOTY | Fattore Temp. | Hőmérsékleti tényező | TEMPERATURNI FAKTOR | Współczynnik temperatury
6 | SIZE TUNING | ANPASSUNG DIMENSION | ДИМЕНЗИЯ ЗА НАПАСВАНЕ | OPTIMALISERINGS FACTOR | ADAPTATION DIAMETRE | OPTIMIZARE DIMENSIONARE | BOYUT AYARLAMA | ПОДБОР ДИАМЕТРА | PŘIZPŮSOBENÍ DIMENZE | Sistema di dimensionamento | Méretezés | DIMENZIONIRANJE | Współczynnik doboru średnic
7 | FLOW TEMPERATURE (Tf) | TEMPERATUR VORLAUF (Tf) | ТЕМПЕРАТУРА ПОДАВАНЕ | AANVOER TEMPERATUUR | TEMPERATURE DEPART | TEMPERATURA TUR | GİDİŞ SICAKLIĞI [°C] Tg | ТЕМПЕРАТУРА В "ПОДАЧЕ" (Tп) | TEPLOTA NA PŘÍVOD. VĚTVI (Tp ) | Temp. di andata(Tf) | Előremenő hőmérséklet | TEMP. POL. (Tpolaza) | Temperatura zasilania Tz
8 | RETURN TEMPERATURE (Tr) | TEMPERATUR RÜCKLAUF (Tr) | ВЪЗВРАТЕНА ТЕМПЕРАТУРА | RETOUR TEMPERATUUR | TEMPERATURE RETOUR | TEMPERATURA RETUR | DÖNÜŞ SICAKLIĞI [°C] Td | ТЕМПЕРАТУРА В "ОБРАТКЕ" (То) | TEPLOTA NA VRATNÉ VĚTVI (Tv) | Temp. di ritorno(Tr) | Visszatérő hőmérséklet | TEMP. POV. (T povrata) | Temperatura powrotu Tp
9 | TEMP. DIFFERENCE (Tf - Tr) | TEMP. SPREIZUNG (Tf - Tr) | ТЕРМОРАЗЛИКА (захр./връщ.) | TEMPERATUUR VERSCHIL | DELTA T (Td-Tr) | DIFERENTA TEMPERATURA | SICAKLIK FARKI (Tg - Td) | РАЗНИЦА ТЕМПЕРАТУР (Tп - Tо) | TEPLOTNÍ SPÁD (Tp-Tv) | Differenza di Temp.(Tf-Tr) | Hőmérsékletkülönbség | Δ T (Tpolaza - Tpovrata) | Różnica temperatur (Tz-Tp)
10 | TRENCH LENGTH | TRASSENLÄNGE | ДЪЛЖИНА НА ТРАСЕТО | TRACEE LENGTE | L.TRANCHEE(m) | LUNGIME SANT | TRANŞE(KANAL) UZUNLUĞU | ДЛИНА ТРАНШЕИ | DÉLKA TRASY | Lunghezza dello scavo | Nyomvonal hossza | DUŽINA TRASE | Długość wykopu
11 | HEAT LOAD kW SOURCE | LEISTUNG kW QUELLE | ПОДАВАНА МОЩНОСТ | OVER TE BRENGEN VERMOGEN kW | PUISSANCE DEPART | PUTERE SURSA kW | ISI KAYNAĞI YÜKÜ ( KW ) | ТЕПЛОВАЯ НАГРУЗКА, кВт | VÝKON ZDROJE (kW) | Calore necessario in KW | Forrásoldali teljesítmény kW | SNAGA IZVORA kW | Obciążenie cieplne kW
12 | VOLUMETRIC FLOW RATE | MEDIUMMENGE | ДЕБИТ | VOLUMESTROOM | DEBIT | DEBIT VOLUMETRIC | HACİMSEL DEBİ | ОБЪЕМНЫЙ РАСХОД | OBJEMOVÝ PRŮTOK | Portata | Térfogatáram | VOLUMETRIČKA KOLIČINA MEDIJA | Natężenie przepływu
13 | PIPE LENGTH | ROHRLÄNGE | ДЪЛЖИНА НА ТРЪБИТЕ | BUIS LENGTE | L.TUBES (m) | LUNGIME CONDUCTA | BORU UZUNLUĞU | ДЛИНА ТРУБ | CELKOVÁ DÉLKA POTRUBÍ | Lunghezza del tubo | Vezeték hossza | DUŽINA CIJEVI | Długość rury
14 | OD (DIMENSION) | DA (DIMENSION) | DA (външен диаметър на тръбата) | BUITEN DIAMETER | DIAMETRE EXT. | DE(DIMENSIUNE) | BORU DIŞ ÇAPI ÖLÇÜSÜ | Dнар. НАРУЖНЫЙ ДИАМЕТР | DA (DIMENZE) | DE(dimensione) | Dk (külső átmérő) | DA ( DIMENZIJA ) | Średnica rury Dz
15 | VELOCITY | FLIESSGESCHWINDIGKEIT | СКОРОСТ НА ПОТОКА | SNELHEID | VITESSE | VITEZA | HIZ | СКОРОСТЬ ПОТОКА | RYCHLOST PROUDĚNÍ | Velocità del fluido | Áramlási sebesség | BRZINA STRUJANJA | Prędkość przepływu
16 | PRESSURE DROP FLOW | DRUCKVERLUST VORLAUF | ЗАГУБА НАЛЯГАНЕ / ПОДАВАНЕ | DRUKVERLIES AANVOER | PERTES CH. DEPART | PIERDERE PRESIUNE TUR | GİDİŞ HATTI BASINÇ KAYBI | ПОТЕРЯ ДАВЛЕНИЯ В "ПОДАЧЕ" | TLAK. ZTRÁTA NA PŘÍV. VĚTVI | Pressione di andata | Nyomásveszteség előre | PAD TLAKA U POLAZU | Spadek ciśnienia na zasilaniu
17 | PRESSURE DROP RETURN | DRUCKVERLUST RÜCKLAUF | ЗАГУБА НАЛЯГАНЕ / ВРЪЩАНЕ | DRUKVERLIES RETOUR | PERTES CH. RETOUR | PIERDERE PRESIUNE RETUR | DÖNÜŞ HATI BASINÇ KAYBI | ПОТЕРЯ ДАВЛЕНИЯ В "ОБРАТКЕ" | TLAK. ZTRÁTA NA VRAT.VĚTVI | Pressione di ritorno | Nyomásveszteség vissza | PAD TLAKA U POVRATU | Spadek ciśnienia na powrocie
18 | PRESSURE DROP TOTAL | DRUCKVERLUST GESAMT | ЗАГУБА НАЛЯГАНЕ ОБЩО | DRUKVERLIES TOTAAL | PERTES CH. TOTALES | PIERDERE TOTALA PRESIUNE | TOPLAM BASINÇ KAYBI | ОБЩИЕ ПОТЕРИ ДАВЛЕНИЯ | TLAKOVÁ ZTRÁTA CELKEM | Pressione totale | Nyomásveszteség összesen | UKUPAN PAD TLAKA | Całkowity spadek ciśnienia
19 | SUPPLY LINE (SINGLE LINE) | SANITÄR (EINROHRSYSTEM) | САНИТАРИЯ / БГВ | AANVOERLEIDING | LIGNE SIMPLE | CIRCUIT ALIMENTARE (ACM) | BESLEME HATTI ( TEK HAT ) | ВОДОСНАБЖЕНИЕ (ОДНОТРУБНАЯ СИСТЕМА) | TEPLÁ VODA(Jednotrubní vedení) | Linea di adduzzione(singola) | Ellátó hálózat (egyvezetékes csőrendszer) | SANITARNA VODA | Przewód zasilający ( pojedyncza rura)
20 | HEATING / COOLING (F / R) | HEIZUNG / KÜHLUNG (VL / RL) | ОТОПЛЕНИЕ | VERWARMING / KOELING | ALLER+RETOUR | INCALZIRE/RACIRE(TUR-RETUR) | ISITMA / SOĞUTMA | ОТОПЛЕНИЕ (ДВУХТРУБНАЯ СИСТЕМА) | TOPENÍ/CHLAZENÍ(P/V) | Riscaldamento/Condizionamento(...) | Fűtés / Hűtés | GRIJANJE/HLAĐENJE | Rura podwójna ( zasilanie - powrót )
21 | USABLE TEMP. DIFF. | NUTZSPREIZUNG | ТЕРМОРАЗЛИКА | NUTTIG TEMPERATUURVERSCHIL | DELTA T UTILE | DIFERENTA TEMPERATURA UTILA | KULLANILIR SICAKLIK FARKI | РАЗНИЦА ТЕМПЕРАТУР В ТОЧКЕ2 | POUŽITELNÝ TEPELNÝ SPÁD | Differenza di Temp. utile | Felhasználható hőmérséklet külömbség | ISKORISTIVA TEMP. RAZLIKA | Obliczeniowa różnica temperatur
22 | USABLE LOAD | NUTZLAST | ПОЛЕЗЕН ТОВАР | NUTTIG VERMOGEN | PUISS UTILE | PUTERE UTILA | KULLANILIR ISI YÜKÜ | ДОСТАВЛЕННОЕ ТЕПЛО В ТОЧКЕ2 | POUŽITELNÉ ZATÍŽENÍ | Carico utile | Felshasználható terhelés | ISKORISTIVA SNAGA | Obliczeniowe obciążenie cieplne
23 | NET VOLUME | NETZVOLUMEN | ОБЕМ НА СИСТЕМАТА | NETTO VOLUME | VOL. RESEAU | VOLUM NET | NET HACİM | ОБЪЕМ СИСТЕМЫ | OBSAH SÍTĚ | Volume netto | Hálozat volumene | VOLUMEN CJEVOVODA | Pojemność sieci
24 | SOURCE | QUELLE | ИЗТОЧНИК | BRON | DEPART | SURSA | KAYNAK | ИСТОЧНИК (1) | ZDROJ | Sorgente | Forrás teljesítmeny kW | IZVOR | Źródło ciepła
25 | TEMP. DIFF. | SPREIZUNG | ТЕРМОРАЗЛИКА | TEMPERATUUR VERSCHIL | DELTA T | DIFERENTA TEMPERATURA | SICAKLIK FARKI | РАЗНИЦА ТЕМПЕРАТУР | TEPLOTNÍ SPÁD | Differenza di Temp. | Hőmérsékletkülönbség | TEMPERATURNA RAZLIKA | Różnica temperatury
26 | NO | OHNE | няма | NEE | 0 K | NU | HAYIR | НЕТ | ----- | No | nem, nincs | BEZ | ---------
27 | PUMP | PUMPE | ПОМПА | POMP | POMPE | POMPA | POMPA | НАСОС | ČERPADLO | Pompa | Szivattyú | PUMPA | Pompa
28 | RESERVE PRESSURE FOR PUMP | VORDRUCK FÜR PUMPENAUSLEGUNG | ПРЕДПИСАНИЕ ЗА ИЗБОР НА ПОМПА | DRUKRESERVE VOOR POMP | PERTES CH. ADDITIONNELLES | REZERVA PRESIUNE POMPA | POMPA YEDEK BASINCI | ПОТЕРИ ДАВЛЕНИЯ ВО "ВНУТРЯНКЕ" | TLAK PŘÍDAVNÉHO ČERPADLA | Press. di riserva per la pompa | A szivattú nyomástartaléka | TLAČNA REZERVA PUMPE | Rezerwowe ciśnienie pompy
29 | Temperature °C | Temperatur °C | Температура °C | Temperatuur °C | Température °C | Temperatura °C | Sıcaklık °C | Температура °C | Teplota° C | Temp. in °C | Hőmérséklet °C | Temperatura °C | Temperatura °C
30 | Pressure loss bar | Druckverlust bar | Загуба на налягане bar | Drukverlies (bar) | Pertes ch. Lin. | Pierdere presiune bar | Basınç kaybı [bar] | Потери давления bar | Tlaková ztráta bar | Perdita di pressione in bar | Nyomásveszteség bar | Pad tlaka bar | Strata ciśnienia, bar
31 | Dimension OD | Dimension DA | Размер на тръбата DA | Buitendiameter | Diamètre Ext | Diametru exterior | Boyut ( DIŞ ÇAP) | ДИАМЕТР Dнар. | Dimenze (DA) | Diamentro | Dk (külső átmérő) | DA ( DIMENZIJA ) | Średnica Dz
32 | END POINT | END - PUNKT | ПОЛЕЗЕН ТОВАР | EINDPUNT | DESTINATION | PUNCT FINAL | SON NOKTA | КОНЕЧНАЯ ТОЧКА (2) | KONEČNÝ BOD | Fine linea | Végpont | Završna točka | Odbiorca
33 | FLOW | VORLAUF | ПОДАВАНЕ | AANVOER | DEPART | TUR | GİDİŞ HATTI | "ПОДАЧА" | PŘÍVODNÍ VĚTEV | Portata | Előre | POLAZ | Zasilanie
34 | RETURN | RÜCKLAUF | ВРЪЩАНЕ | RETOUR | RETOUR | RETUR | DÖNÜŞ HATTI | "ОБРАТКА" | VRATNÁ VĚTEV | Ritorno | Vissza | POVRAT | Powrót
35 | not appliable | entfällt | НЯМА | N.V.T. | Inapplicable | Neaplicabil | Uygulanamaz | не применяемо | nezadáno | Non applicabile | Nem meghatározott | nije primjenjivo | Nie odpowiedni
36 | Soil temperature | Erdtemperatur | температура земя | Bodem temperatuur | Température Sol | Temperatura sol | Toprak (zemin) sıcaklığı | Температура почвы | Teplota zeminy | Temp. del terreno | Talajhőmérséklet | Temperatura tla | Temperatura gruntu
37 | Coverage | Überdeckung | дълб. на полагане | gronddekking | Recouvrement | Adancime sant | Dolgu yuksekligi | Глубина заложения | Výška krytí | Copertura | Átfedés | Pokrov | Głębokość wykopu
38 | Lambda soil | Lambda Erde | Lambda земя | Lambda bodem | Lambda Sol | Lambda Sol | Toprak (zemin) ısı iletkenlik katsayısı | λ почвы | Lambda zeminy | Lambda del terreno | Talaj hővezetési tényező Lambda | Lambda tla | Lambda gruntu
39 | Temperature drop Flow | Temperaturabfall VORLAUF | Темп.загуба ПОДАВАНЕ | Temperatuurverlies Aanvoer | Chute temp. ligne départ | Pierdere temperatura tur | Sicaklik kaybi | Потери темп. в "подаче" | Teplotní ztráta - přívod. | Temp. di rugiada | Hömérsékletcsökkenés előre | Pad temperature u polazu | Spadek temperatury na zasilaniu
40 | Trench Length | Trassenlänge | Дължина на ТРАСЕТО | Tracee Lengte | Long.Tranch.m | Lungime sant | Tranşe (kanal) uzunluğu | Длина траншеи | Délka trasy | Lunghezza dello scavo | Nyomvonal hossza | Dužina trase | Długość wykopu
41 | Dwell time Flow | Verweildauer VORLAUF | Времетраене на ПОТОКА | Verblijfstijd Stroming | Durée Ecoulement | DURATA PARCURS TUR | Akış süresi | Время подачи | Prodleva - přívodní větev | Tempo di riempimento | Tartózkodási idő előre | Vrijeme protoka u polazu | Czas przepływu
42 | Pressure rating | Druckreihe | Налягане | Drukklasse | Press. Service | PRESIUNEA REGIM | Basınç değeri | Номинал. давление | Tlaková řada | Pressione d'esercizio | Nyomásgörbe (vezeték jelleggörbe) | Tlačni red | Ciśnienie odniesienia
43 | max. Pressure | Maximaldruck | Max налягане | Maximum druk | Press. Max. | Presiune Max. | max.Basınç | Max. давление | Maximální tlak | Pressione massima | Maximális nyomás | Maksimalni tlak | Max. ciśnienie
44 | Pressure drop | Druckverlust | загуба налягане | Drukval | Pertes Chges. | Cadere Presiune | Basınç kaybı bar | Потери давления | Tlaková ztráta | Perdita di carico | Nyomásveszteség | Pad tlaka | Spadek ciśnienia
45 | Reserve press. | Druckreserve | резерв налягане | Drukreserve | Réserve Press. | Rezerva presiune | rezerv basinc | Резерв давления | Tlaková rezerva | Pressione residua | Nyomástartalék | Tlačna rezerva | Rezerwa ciśnienia
46 | at 95°C | bei 95°C | при 95°C | bij 95°C | à 95°C | la 95°C | 95°C de | при 95°C | při 95°C | a 95°C | 95°C - Mellett | pri 95° C | przy 95 °C
47 | at Service Temperature | bei Anwendungstemperatur | при прилаганата темпер. | bij bedrijfstemperatuur | à Température de Service | la Temperatura de lucru | İşletme sıcaklığında | при рабочей температуре | při provozní teplotě | alla Temp. di esercizio | Felhasználási hőmérséklet mellett | PRI RADNOJ TEMPERATURI | Przy temperaturze roboczej
48 | FLEXALEN pipes only | im FLEXALEN Rohr | в тръбите | FLEXALEN leidingen | Rés. FLEXALEN seul | Conducte Flexalen | Sadece FLEXALEN borular | Только в трубах Flexalen | Pouze pro potr.FLEXALEN | delle tubazioni Flexalen | Flexalen csőben | samo za FLEXALEN cijevi | Tylko dla rur Flexalen
49 | at Service Temperature | bei Anwendungstemperatur | при прилаганата темпер. | BIJ BEDR TEMP | à Température de Service | la Temperatura de lucru | İşletme sıcaklığında | при рабочей температуре | při provozní teplotě | alla Temp. di esercizio | Felhasználási hőmérséklet mellett | pri radnoj temperaturi | Przy temperaturze roboczej
50 | PLEASE CHOOSE APPLICATION: | BITTE ANWENDUNG WÄHLEN: | МОЛЯ ИЗБЕРЕТЕ ПРИЛОЖЕНИЕТО: | SELECTEER TOEPASSING: | CHOIX DE L'APPLICATION | VA RUGAM ALEGETI APLICATIA | LÜTFEN UYGULAMAYI SEÇİN: | ВЫБЕРИТЕ СИСТЕМУ: | PROSÍM VYPLŇTE UŽITÍ: | Prego scegliere l'applicazione | Felhasználási terület kiválasztása | MOLIMO ODABERITE NAMJENU: | Proszę wybrać zastosowanie
51 | SUPPLY LINE → | SANITÄR → | САНИТАРИЯ / БГВ → | TOEVOERLEIDING → | LIGNE SIMPLE → | CIRCUIT A.C.M → | BESLEME HATTI ( TEK HAT ) → | ВОДОСНАБЖЕНИЕ → | TEPLÁ VODA → | Linea di alimentazione | Ellátó hálózat | SANITARNA VODA → | Rura pojedyncza →
52 | HEATING / COOLING → | HEIZUNG / KÜHLUNG → | ОТОПЛЕНИЕ → | VERWARMING / KOELING → | A/R CHAUF/EAU.GL → | INCALZIRE/RACIRE → | ISITMA / SOĞUTMA → | ОТОПЛЕНИЕ → | TOPENÍ/CHLAZENÍ → | Riscaldamento/Condizionamento(...) | Fűtés / Hűtés | GRIJANJE / HLAĐENJE → | Rura podwójna →
53 | Single pipe system: |  |  |  | Ligne Simple | SISTEM CONDUCTA SIMPLA | Tek Borulu Sistemler: | Обнотрубная система: | Jednotrubní systém: | Sistema di tubazioni singole | Egyvezetékes csőrendszer | Jednocjevni sustav: | System pojedynczych rur
54 | TEMPERATURE | TEMPERATUR | Въведи температура в °C: | VUL DE TEMPERATUUR IN VAN HET MEDIUM | TEMPERATURE | TEMPERATURA | SICAKLIK | ТЕМПЕРАТУРА [°C] | TEPLOTA | Temp. | Hőmérséklet | TEMPERATURA | Temperatura
55 | FILL IN TRENCH LENGTH | TRASSENLÄNGE | Въведи дължина на трасето в м: | VUL DE LENGTE VAN HET TRACEE IN | LONGUEUR DE TRANCHÉE | LUNGIME SANT | TRANŞE(KANAL) UZUNLUĞUNU GİR | ВВЕДИТЕ ДЛИНУ ТРАНШЕИ в [м] | ZADEJTE DÉLKU TRASY | Lunghezza dello scavo | Vezeték hossza (Kitölti a nyomvonal hosszat) | U DUŽINI TRASE | Wypełnienie długość wykopu
56 | QUANTITY OF LIQUID | MEDIUMMENGE | Въведи дебит в л/сек: | HOEVEELHEID VLOEISTOF | DEBIT | DEBIT | AKIŞKANIN DEBİSİ | РАСХОД [литров/сек] | MNOŽSTVÍ MEDIA | Portata | (Folyadék mennyiség) Közegmennyiség | KOLIČINA MEDIJA | Natężenie przepływu
57 | ADDITIONAL PRESSURE FOR PUMP | VORDRUCK für PUMPE | Въведи налягане в крайна точка в bar: | ADDITIONELE DRUK VOOR DE POMP | Press. additionnelle à la pompe | PRESIUNE SUPLIMENTARA POMPA | POMPA İLAVE BASINCI | ПОТЕРИ ДАВЛЕНИЯ ВО "ВНУТРЯНКЕ" [bar] | PŘÍDAVNÝ TLAK ČERPADLA | Press. aggiuntiva per la pompa | A Csatlakazó rendszer nyomásesése | PRETLAK PUMPE | Dodatkowe ciśnienie pompy
58 | Twin line system: |  |  |  |  | Circuit dublu | Çift Hatlı(gidiş-dönüş) Sistemler: | Двухтрубная система: | Dvoutrubní systém: | Sistema di tubazioni doppie | Többvezetékes csőrendszer | Dvocjevni sustav: | System podwójnych rur
59 | FLOW TEMPERATURE | TEMPERATUR VORLAUF | Въведи температура на подаване в °C: | VUL DE AANVOER TEMPERATUUR IN | TEMPERATURE DEPART | TEMPERATURA TUR | GIDIS SICAKLIGI | ТЕМПЕРАТУРА В ПОДАЮЩЕМ ТРУБОПРОВОДЕ | TEPLOTA NA PŘÍVOD. VĚTVI | Temp. del fluido | Hőmérséklet előre | TEMPERATURA POLAZA | Temperatura zasilania
60 | RETURN TEMPERATURE | TEMPERATUR RÜCKLAUF | Въведи възвратна температура в °C: | VUL DE RETOUR TEMPERATUUR IN | TEMPERATURE RETOUR | TEMPERATURA RETUR | DONUS SICAKLIGI | ТЕМПЕРАТУРА В ОБРАТНОМ ТРУБОПРОВОДЕ | TEPLOTA NA VRATNÉ VĚTVI | Temp. del fluido di ritorno | Hőmérséklet vissza | TEMPERATURA POVRATA | Temperatura powrotu
61 | TRENCH LENGTH | TRASSENLÄNGE | Въведи дължина на трасето в м: | VUL DE LENGTE VAN HET TRACEE IN | LONG.TRANCH. | LUNGIME SANT | TRANŞE(KANAL) UZUNLUĞU | ДЛИНА ТРАНШЕИ [м] | DÉLKA TRASY | Lunghezza dello scavo | Nyomvonal hossz | DUŽINA TRASE | Długość wykopu
62 | HEAT LOAD | ÜBERTRAGENE LEISTUNG ab HEIZHAUS | Въведи мощност в крайна точка в kW: | VUL HET TE TRANSPORTEREN VERMOGEN IN | PUISSANCE | SARCINA TERMICA | ISI YÜKÜ | ТЕПЛОВАЯ НАГРУЗКА [кВт] | PŘENESENÝ VÝKON | Perdita di calore | Energia mennyiség kazánházból | SNAGA PREUZETA OD KOTLOVNICE | Obciążenie cieplne
63 | ADDITIONAL PRESSURE FOR PUMP | VORDRUCK für PUMPE | Въведи налягане в крайна точка в bar: | ADDITIONELE DRUK VOOR DE POMP | PRESS. ADDITIONNELLE A LA POMPE | PRESIUNE SUPLIMENTARA POMPA | POMPA İLAVE BASINCI | ПОТЕРИ ДАВЛЕНИЯ ВО "ВНУТРЯНКЕ" [bar] | PŘÍDAVNÝ TLAK ČERPADLA | Press. aggiuntiva per la pompa | Szivattyú előnyomása | PRETLAK PUMPE | Dodatkowe ciśnienie pompy
64
65 | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C
66 | m | m | m | m | m | m | m | м | m | m | m | m | m
67 | l/s | l/s | l/s | l/s | l/s | l/s | lt/s | l/s | l/s | l/s | l/s | l/s | l/s
68 | bar | bar | bar | bar | bar | bar | bar | bar | bar | bar | bar | bar | bar
69
70 | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C
71 | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C
72 | m | m | m | m | m | m | m | м | m | m | m | m | m
73 | kW | kW | kW | kW | kW | Kw | KW | кВт | kW | kW | kW | kW | kW
74 | bar | bar | bar | bar | bar | bar | bar | bar | bar | bar | bar | bar | bar
75 | SELECT A FLEXALEN PRODUCT | FLEXALEN PRODUKT WÄHLEN |  | KIES EEN FLEXALEN PRODUKT | Choisir un FLEXALEN produit |  |  | ВЫБЕРИТЕ ТИП ТРУБЫ FLEXALEN |  |  |  |  | Wybierz produkt Flexalen
76 | HEAT LOSS PER m' TRENCH LENGTH | WÄRMEVERLUST PRO TRASSENMETER |  | WARMTEVERLIES PER METER SLEUF |  |  |  | ТЕПЛОВЫЕ ПОТЕРИ С 1 МЕТРА ТРАССЫ |  |  |  |  | Strata ciepła na metr długości rury w wykopie
77 | Choose product | Produkt wählen |  | Kies produkt |  |  |  | Выберите тип трубы |  |  |  |  | Wybierz produkt
78 | HEAT LOSS TOTAL | WÄRMEABSTRAHLUNG NETZ |  | TOTAAL WARMTEVERLIES |  |  |  | ТЕПЛОВЫЕ ПОТЕРИ |  |  |  |  | Całkowita strata ciepła
79 | FLEXALEN Product | FLEXALEN Produkt |  | FLEXALEN Produkt |  |  |  | FLEXALEN продукт |  |  |  |  | Flexalen produktu
80 | Quantity | Menge |  | Aantal |  |  |  | количество |  |  |  |  | Ilość
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100

## Release Info (hidden)
Flexalen QuickCalc
Flexalen 600
Version | Date | Changes
v8.00 (beta) | 2010-02-03 | 1st multilingual language: english, german, bulgarian, dutch, Heatloss - temperature drop updated / new outlook,...
v8.00 (beta) | 2010-02-09 | checked by several people and corrected
v8.00 | 2010-03-23 | Sprachen OK: en, ger, ru, bul, dutch, turkish, romanian
v8.01 | 2010-06-04 | Sprachen - Übersetzungsfehler behoben; v [m/s] Tabelle angefügt; Druckstufe neu für 16-110 und 125-225; Instruction en - aktualisiert
v8.10 | 2010-07-26 | TF faktor angepasst von 1,03 auf 1,02 (nicht 1,011 wie beim großen, robusterer Wert)
Alle Beschreibungen geändert auf Flexalen anstatt Flexalen 600
alle Parameter aktualisiert
CZ language added
v8.11 | 2010-10-14 | Italian & hungarian language added
| 2010-10-20 | corrections translation hungarian
| 2010-10-27 | correction translation italien
v8.12 | 2011-03-07 | croatian language added
v9.00 | 2011-06-20 | Temperature drop calc completely new, Heat losses new, new spread sheet "Parameter_HL"
v9.01 | 2011-07-05 | update languages, new polish language, some bug fixes
v9.02 | 2011-07-20 | correct polish language, bug fix 75mm product choosing